FERMACA: NCP Pre-ARB Questionnaire

1. DC Information

- DC Name:

- Colo Provider / Owner:

- Location (address):

- Designed DC Tier:

- Seismic Zone:

- Commercial Airport:

- Loading Dock and Staging area support: Can it support crate dimensions: 2500mm x1310mm x2020mm [h x w x d]$ and a Crate / Shipping Weight: 4300lbs (crate, populated, wet)?

- Rack specific support: Can it support Rack dimensions: 2300mm x 600mm x 1200mm[h x w x d], a Rolling weight: 3700 lbs (populated, wet), and Floor loading: 480 lb/ft2?

- Facilities: Does the facility have a separate area for cleaning, flushing, and filling the racks?

- PG25: What is the site's storage capacity for PG25, measured in gallons?

- Engineer of Record:

- Construction Company:

- Software integration: Mission Control, Cronos, Phaidra?

2. Electrical / Mechanical

- Utility Primary Power Available?

- Designed IT Load (kW):

- 4-to-Make-3 Design Power distribution ready?

- UPS Installed / Redundancy (N+1):

- Designed Power per Row (kW) & Designed Power per Rack (kW):

- Air Cooled Specs: Air Cooled - Designed CFM/kW and Air Cooled - Designed Ambient Temp (C).

- Liquid Cooled Specs (If applicable later): Primary Loop Temp (C), Primary Pipe Diameter, TCS Water Temp (C), TCS Flow Rate (LPM), and Liquid Cooled - TCS Top or Bottom Fed.

- CDU Type: CDU Type (In-Rack, In-Row, FDCU, Other) / Vendor / Product Name.

- Containment: Hot Aisle or Cold Aisle Containment? Is Hot/Cold Aisles at least 6ft?

- Floor: Slab or Raised Floor?

- Floor to Ceiling Height:

3. DC Construction Timeline (Ready Dates)

- Facility / Building:

- Foundation + Raised floor, if applicable:

- Primary Loop Piping & TCS Loop Piping:

- CDU Installation & CDU Commissioning:

- Facility Power & UPS / Backup Power:

- Data Hall Power & Row Level Power:

- Containment & Cable Tray:

- Leak Detection monitoring & BMS Integration:

- White Space:

5. High-Performance Storage (HPS)

- Storage Partner Name and Product Name:

- HPS Product Specs & Validated SuperPOD Recipe:

- NCP compliance: Is the HPS SPOD / NCP design document being followed to the storage architecture? (If yes, please share the link of the RA that was followed; If no, please explain why not).

- Scale: **Quantity of storage appliances and type (see speaker notes) per cluster.

- Capacity: Total usable capacity per cluster.

- Performance (OEM/NCP Only): aggregate write and read bandwidth per cluster.

- Connectivity (OEM/NCP Only): Number of network connections into the converged network?

- Future Plans: Plans to expand the storage in the future? What are the expansion requirements and target timeline?

- Other requirements: Any other storage requirements, e.g. backup, data management, encryption, etc. required?